## Laboratory Analysis
Client;
Quotation Ref;
Date;
Analysis Rates Effective 1/4/25
Suite | Determinand | Limits of Quantification* | Sample Stability | Unit | Qty | Rate | Amount
Inorganic Chemistry - Std TRT 10 working days
BROMS | Bromate as BrO3 | 0.33ug/l | 28 days | No. |  | 55.09 | Rate Only
| Bromide as Br | 8.9ug/l | 28 days
| Chlorate as ClO3 | 4.5ug/l | 28 days
| Chlorite as ClO2 | 1.64ug/l | 28 days
CHR6 | Chromium VI | 1.1ug/l | 21 days | No. |  | 31.68 | Rate Only
COLOUR | Colour | 2.5 mg/l Pt/Co | 14 days | No. |  | 5.33 | Rate Only
COT | Quantitative Odour | 0 Dilution No. | 72 hours | No. |  | 26.28 | Rate Only
| Quantitative Taste | 0 Dilution No. | 72 hours | No. |  | 26.28 | Rate Only
FLUORIDE | Fluoride as F | 0.034mg/l | 28 days | No. |  | 13.77 | Rate Only
ICP | Aluminium as Al | 5.0ug/l | 28 days | No. |  | 2.62 | Rate Only
| Antimony as Sb | 0.2ug/l | 28 days |  |  | 2.62 | Rate Only
| Arsenic as As | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Barium as Ba | 10.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Beryllium | 0.4ug/l | 28 days |  |  | 2.62 | Rate Only
| Boron as B | 0.1mg/l | 28 days |  |  | 2.62 | Rate Only
| Cadmium as Cd | 0.2ug/l | 28 days |  |  | 2.62 | Rate Only
| Calcium as Ca | 2.0mg/l | 28 days |  |  | 2.62 | Rate Only
| Chromium as Cr | 2.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Cobalt as Co | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Iron as Fe | 15.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Lithium as Li | 3.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Magnesium as Mg | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Manganese as Mn | 1.0mg/l | 28 days |  |  | 2.62 | Rate Only
| Mercury as Hg | 0.1ug/l | 28 days |  |  | 2.62 | Rate Only
| Molybdenum as Mo | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Potassium as K | 0.2mg/l | 28 days |  |  | 2.62 | Rate Only
| Selenium as Se | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Silver as Ag | 0.1ug/l | 28 days |  |  | 2.62 | Rate Only
| Sodium as Na | 3.0mg/l | 28 days |  |  | 2.62 | Rate Only
| Strontium as Sr | 10.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Thallium | 0.5ug/l | 28 days |  |  | 2.62 | Rate Only
| Tin as Sn | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Titanium as Ti | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Total Phosphorus as P | 50.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Uranium as U | 0.5ug/l | 28 days |  |  | 2.62 | Rate Only
| Vanadium as V | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
KONE | Ammonium as NH4 | 0.05mg/l | 4 days | No. |  | 6.2 | Rate Only
| Chloride as Cl | 4 mg/l | 7 days | No. |  | 6.2 | Rate Only
| Total Alkalinity as HCO3 | 16 mg/l | 7 days | No. |  | 6.2 | Rate Only
| Silica as SiO2 | 0.2mg/l | 7 days | No. |  | 6.2 | Rate Only
| Soluble Reactive Phosphate | 114 ug/l | 7 days | No. |  | 6.2 | Rate Only
| Sulphate as SO4 | 11 mg/l | 7 days | No. |  | 6.2 | Rate Only
| Total Hardness as Ca | 15 mg/l | 7 days | No. |  | 6.2 | Rate Only
KONE | Nitrite as NO2 | 0.007mg/l | 5 days | No. |  | 18.6 | Rate Only
(Nitrogen Suite) | Total Oxidised Nitrogen as NO3 | 3.4mg/l | 7 days
| Nitrate as NO3 (by calculation) | 3.4mg/l | 7 days
LEAD | Copper as Cu | 0.0186 mg/l | 28 days | No. |  | 2.62 | Rate Only
| Lead as Pb | 1.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Zinc as Zn | 10.0ug/l | 28 days |  |  | 2.62 | Rate Only
| Nickel as Ni | 2.0ug/l | 28 days |  |  | 2.62 | Rate Only
MISC PHYS i | Appearance | Not applicable | Not applicable | No. |  | 1.75 | Rate Only
PHYS | Electrical Conductivity @ 20 deg C | 16uS/cm | 4 days | No. |  | 2.04 | Rate Only
| Hydrogen Ion | Not applicable | 4 days | No. |  | 2.04 | Rate Only
| Turbidity | 0.1 NTU | 4 days | No. |  | 2.04 | Rate Only
SMISC | Total Dissolved Solids | 10mg/l | 14 days | No. |  | 15.48 | Rate Only
| Dry Residue | 10mg/l | 14 days | No. |  | 15.04 | Rate Only
TOC | Total Organic Carbon | 0.4mg/l | 28 days | No. |  | 8.26 | Rate Only
| Dissolved Organic Carbon ii | 0.4mg/l | 28 days | No. |  | 25.55 | Rate Only
TOTAL_CN | Total Cyanide as CN | 2.7ug/l | 7 days | No. |  | 7.58 | Rate Only
Organic Chemistry Std TRT 15 working days
ACRYL i | Acrylamide | 0.009ug/l | 14 days | No. |  | 149.49 | Rate Only
ACID Suite | 2_4_5_T | 0.013ug/l | 14 days | No. |  | 81.9 | Rate Only
| 2_4_D | 0.014ug/l | 14 days
| 2_4_DB | 0.023ug/l | 14 days
| Bentazone | 0.008ug/l | 14 days
| Bromoxynil | 0.013ug/l | 14 days
| Clopyralid | 0.024ug/l | 14 days
| Dicamba | 0.021ug/l | 14 days
| Dichlorprop | 0.012ug/l | 14 days
| Fenoprop | 0.009ug/l | 14 days
| Fluroxypyr | 0.015ug/l | 14 days
| Imazapyr | 0.016ug/l | 14 days
| Ioxynil | 0.011ug/l | 14 days
| MCPA | 0.020ug/l | 14 days
| MCPB | 0.020ug/l | 14 days
| Mecoprop | 0.011ug/l | 14 days
| Triclopyr | 0.027g/l | 14 days
OCP Suite | Aldrin | 0.007ug/l | 14 days | No. |  | 82.64 | Rate Only
| Alpha Endosulphan | 0.006ug/l | 14 days
| Beta Endosulphan | 0.010ug/l | 14 days
| Chlorothalonil | 0.006ug/l | 14 days
| Chlorpyrifos | 0.002ug/l | 14 days
| cis-Heptachlor epoxide | 0.003ug/l | 14 days
| trans-Heptachlor epoxide | 0.005ug/l | 14 days
| Dichlobenil | 0.009ug/l | 14 days
| Dieldrin | 0.006ug/l | 14 days
| Endrin | 0.007ug/l | 14 days
| Gamma HCH (Lindane) | 0.007ug/l | 14 days
| Hexachlorobenzene | 0.012ug/l | 14 days
| Heptachlor | 0.007ug/l | 14 days
| ppDDT | 0.019ug/l | 14 days
| Tecnazene | 0.004ug/l | 14 days
| Tri-allate | 0.009ug/l | 14 days
| Trifluralin | 0.004ug/l | 14 days
ONS Suite | Azinphos-methyl | 0.006ug/l | 14 days | No. |  | 82.64 | Rate Only
| Boscalid i | 0.006ug/l | 14 days
| Bromacil | 0.004ug/l | 14 days
| Diazinon | 0.010ug/l | 14 days
| Diflufenican | 0.009ug/l | 14 days
| Dimethoate | 0.008ug/l | 14 days
| Flufenacet i | 0.005ug/l | 14 days
| Flutriafol | 0.005ug/l | 14 days
| Fenpropimorph | 0.010ug/l | 14 days
| Heptenophos | 0.005ug/l | 14 days
| Malathion | 0.004ug/l | 14 days
| Pendimenthalin | 0.009ug/l | 14 days
| Pirimicarb | 0.005ug/l | 14 days
PAH Suite | Benzo (a) Pyrene | 0.0018ug/l | 14 days | No. |  | 78.82 | Rate Only
| Benzo (b) Fluoranthene | 0.0036ug/l | 14 days
| Benzo (ghi) Perylene | 0.0022ug/l | 14 days
| Benzo (k) Fluoranthene | 0.0036ug/l | 14 days
| Fluoranthene | 0.0115ug/l | 14 days
| Indeno (1_2_3 cd) Pyrene | 0.0032ug/l | 14 days
PFAS Suite |  |  | 14 days | No. |  | POA | Rate Only
TRZ_URON Suite | Atrazine | 0.013ug/l | 14 days | No. |  | 82.64 | Rate Only
| Carbendazim | 0.012ug/l | 14 days
| Carbetamide | 0.013ug/l | 14 days
| Chlorotoluron | 0.011ug/l | 14 days
| Cyanazine | 0.012ug/l | 14 days
| Diuron | 0.022ug/l | 14 days
| Disethyl atrazine | 0.008ug/l | 14 days
| Isoproturon | 0.012ug/l | 14 days
| Linuron | 0.021ug/l | 14 days
| Metazachlor | 0.011ug/l | 14 days
| Metaldehyde | 0.021ug/l | 14 days
| Methabenzthiazuron | 0.012ug/l | 14 days
| Prometryn | 0.012ug/l | 14 days
| Propazine | 0.010ug/l | 14 days
| Propyzamide | 0.019ug/l | 14 days
| Quinmerac | 0.015ug/l | 14 days
| Simazine | 0.017ug/l | 14 days
| Terbutryn | 0.014ug/l | 14 days
| Terbuthylazine | 0.014ug/l | 14 days
| Trietazine | 0.014ug/l | 14 days
VOC Suite | 1_1_1-Trichloroethane | 0.456ug/l | 14 days | No. |  | 82.64 | Rate Only
| 1_1-Dichloroethane | 0.135ug/l | 14 days
| 1_2-Dichloroethane | 0.135ug/l | 14 days
| cis-1,2-Dichloroethene | 0.215ug/l | 14 days
| trans-1,2-Dichloroethene | 0.268ug/l | 14 days
| Benzene | 0.074ug/l | 14 days
| Bromodichloromethane | 0.197ug/l | 14 days
| Dibromochloromethane | 0.173ug/l | 14 days
| Ethyl benzene | 0.083ug/l | 14 days
| m&p xylene | 0.154ug/l | 14 days
| o xylene | 0.074ug/l | 14 days
| total xylene | 0.074ug/l | 14 days
| MTBE | 0.110ug/l | 14 days
| Tetrachloroethene | 0.270ug/l | 14 days
| Tetrachloromethane | 0.163ug/l | 14 days
| Toluene | 0.091ug/l | 14 days
| Tribromomethane (bromoform) | 0.304ug/l | 14 days
| Trichloroethene | 0.426ug/l | 14 days
| Trichloromethane (chloroform) | 0.620ug/l | 14 days
Microbiology Std TRT 3 working days
CRYPTO | Crypto Bulk Bag | 0 oocysts/litre | 48 hours | No. |  | 234.15 | Rate Only
| Crypto Bulk Bag + Giardia | 1 oocysts/litre | 48 hours | No. |  | 344.34 | Rate Only
| Crypto Filter | 0 oocysts/litre | 48 hours | No. |  | 220.37 | Rate Only
| Crypto Filter + Giardia | 0 cysts/litre | 48 hours | No. |  | 330.56 | Rate Only
COLILERT | E coli | 0 MPN/100ml | 24 hours | No. |  | 5.23 | Rate Only
| Total coliforms | 0 MPN/100ml | 24 hours | No. |  | 5.23 | Rate Only
ENT_CLOS | Clostridium perfringens | 0 cfu/100ml | 24 hours | No. |  | 6.76 | Rate Only
| Enterococci | 0 cfu/100ml | 24 hours | No. |  | 8.26 | Rate Only
PSEUD | Pseudomonas Aeruginosa | 0 cfu/100ml | 24 hours | No. |  | 23.52 | Rate Only
FLOW i | Flow Cytometry | N/A | 48 hours | No. |  | 20 | Rate Only
TVC | 1 day plate count @ 37c | 0 count/ml | 24 hours | No. |  | 5.23 | Rate Only
| 2 day plate count @ 37c | 0 count/ml | 24 hours | No. |  | 5.23 | Rate Only
| 3 day plate count @22c | 0 count/ml | 24 hours | No. |  | 5.23 | Rate Only
Subcontracted Microbiology - TRT Variable
ENDOTOXii | Endotoxins | 0.01 EU/ml | 24 hours | No. |  | 105.84 | Rate Only
LEGii | Legionella | ND cfu/volume | 2 days | No. |  | 24.5 | Rate Only
MYCOBACii | Mycobacteria | 0 cfu/100ml | 24 hours | No. |  | 72.24 | Rate Only
TVC_100ii | 1 day plate count @ 37c | 0 cfu/100ml | 24 hours | No. |  | 23.67 | Rate Only
| 2 day plate count @ 37c | 0 cfu/100ml | 24 hours | No. |  | 23.67 | Rate Only
| 3 day plate count @ 37c | 0 cfu/100ml | 24 hours | No. |  | 23.67 | Rate Only
TVC_CFPPii | 2 day plate count @ 30c | 0 cfu/100ml | 24 hours | No. |  | 23.67 | Rate Only
| 5 day plate count @ 30c | 0 cfu/100ml | 24 hours | No. |  | 23.67 | Rate Only
TVC_RENALii | 2 day plate count @ 37c | count/ml | 24 hours | No. |  | 18.93 | Rate Only
| 7 day plate count @ 37c | count/ml | 24 hours | No. |  | 18.93 | Rate Only
Subcontracted Chemistry Std TRT 20 working days
EPICHLOR ii | Epichlorohydrin | 0.1ug/l | Not applicable | No. |  | 226.32 | Rate Only
GLYPHii | Glyphosate | 0.005ug/l | 21 days | No. |  | 64.78 | Rate Only
RADIO ii | Alpha Radioactivity | 0.005 Bq/l | Not applicable | No. |  | 94.78 | Rate Only
| Beta Radioactivity | 0.1 Bq/l | Not applicable
| Total Indicative Dose | Comment | 30 days
TRITIUM ii | Tritium | 5Bq/l | Not applicable | No. |  | 62.01 | Rate Only
VINYL_CHLii | Vinyl chloride | 0.130ug/l | 14 days | No. |  | 50.79 | Rate Only
Notes
i | Not UKAS accredited
ii | Subcontracted
* | Limit of Quantification at time of quotation
Additional Services / Costs
Item | Description |  |  | Unit | Qty | Rate | Amount
Sampling | Attendance on site to collect samples - includes travel time |  |  | Hr |  | 39.05 | Rate Only
Weekend | Commencement of testing at weekend when agreed in advance (charged in addition to testing costs) |  |  | Per Sample |  | 22.31 | Rate Only
Dilution | Dilution of samples needed to bring concentrations down to within calibration limits of instruments - needed for more contaminated samples |  |  | Per sample |  | 36.5 | Rate Only
Filtering | Charge for additional filtering of samples due to matrix |  |  | Per test |  | 21.6 | Rate Only
Confirm | Additional charge for confirming a presumptive microbiological failure (where applicable) |  |  | Per sample |  | 16.2 | Rate Only
API Typing | Subculturing / API typing of microbiological sample (where applicable) |  |  | Per sample |  | 36.5 | Rate Only
Aborted | Aborted testing due to incorrect client data or suitability of sample |  |  | Sum |  | Full testing cost | Rate Only
Certs | Posting/email of hard copy test certificate |  |  | Per certificate |  | 5.4 | Rate Only
Certs | Reissue of test certificates due to changing information outside our control |  |  | Per certificate |  | 10.8 | Rate Only
Information | Chasing of information required and not submitted with samples |  |  | Per sample |  | 10.8 | Rate Only
Changes | Schedule changes requested after 24hr sample receipt received |  |  | Per change |  | 21.6 | Rate Only
Site tests | Entry of additional test data carried out by other to our test certificates i.e. site tests |  |  | Per certificate |  | 5.4 | Rate Only
Additional laboratory terms and conditions
1 | Our rates allow for the forward supply of a quantity of bottles appropriate for the quotation provided. These will be free to collect from our Staines laboratory but any postage costs would be recharged @cost plus 15%. Our own sample bottles must be used to avoid invalidating the UKAS accreditation of the results
2 | We are unable to accept repeated request for results ahead of the target turnaround agreed
3 | We are only able to accept (based on UKAS accreditation) potable water and water from within the treatment process, including raw waters. We require a clear confirmation of the water matrix on any chain of custody. Failure to provide matrix details will result in samples being held until this information is provided and this may compromise test results
4 | Where conditions exist that may impact the validity of any lab results (for example samples being outside their stability period) this will be noted on our results
5 | We reserve the right not to undertake taste testing where the odour or appearance suggests this may be harmful to our staff
6 | Faster turnarounds than those stated may be possible but would be subject to additonal charges (generally 50%) and must be agreed in advance of the samples being delivered
7 | We reserve the right to increased subcontract test rates should we experience significant increases in subcontract costs
8 | All rates exclude VAT
Organic Suite Details
| Determinand | LoQ
ACID | 2_4_5_T | 0.013ug/l
| 2_4_D | 0.014ug/l
| 2_4_DB | 0.023ug/l
| Bentazone | 0.008ug/l
| Bromoxynil | 0.013ug/l
| Clopyralid | 0.024ug/l
| Dicamba | 0.021ug/l
| Dichlorprop | 0.012ug/l
| Fenoprop | 0.009ug/l
| Fluroxypyr | 0.015ug/l
| Imazapyr | 0.016ug/l
| Ioxynil | 0.011ug/l
| MCPA | 0.020ug/l
| MCPB | 0.020ug/l
| Mecoprop | 0.011ug/l
| Triclopyr | 0.027g/l
OCP | Aldrin | 0.007ug/l
| Alpha Endosulphan | 0.006ug/l
| Beta Endosulphan | 0.010ug/l
| Chlorothalonil | 0.006ug/l
| Chlorpyrifos | 0.002ug/l
| cis-Heptachlor epoxide | 0.003ug/l
| trans-Heptachlor epoxide | 0.005ug/l
| Dichlobenil | 0.009ug/l
| Dieldrin | 0.006ug/l
| Endrin | 0.007ug/l
| Gamma HCH (Lindane) | 0.007ug/l
| Hexachlorobenzene | 0.012ug/l
| Heptachlor | 0.007ug/l
| ppDDT | 0.019ug/l
| Tecnazene | 0.004ug/l
| Tri-allate | 0.009ug/l
| Trifluralin | 0.004ug/l
ONS | Azinphos-methyl | 0.006ug/l
| Boscalid i | 0.006ug/l
| Bromacil | 0.004ug/l
| Diazinon | 0.010ug/l
| Diflufenican | 0.009ug/l
| Dimethoate | 0.008ug/l
| Flufenacet i | 0.005ug/l
| Flutriafol | 0.005ug/l
| Fenpropimorph | 0.010ug/l
| Heptenophos | 0.005ug/l
| Malathion | 0.004ug/l
| Pendimenthalin | 0.009ug/l
| Pirimicarb | 0.005ug/l
PAH | Benzo (a) Pyrene | 0.0018ug/l
| Benzo (b) Fluoranthene | 0.0036ug/l
| Benzo (ghi) Perylene | 0.0022ug/l
| Benzo (k) Fluoranthene | 0.0036ug/l
| Fluoranthene | 0.0115ug/l
| Indeno (1_2_3 cd) Pyrene | 0.0032ug/l
TRZ_URON | Atrazine | 0.013ug/l
| Carbendazim | 0.012ug/l
| Carbetamide | 0.013ug/l
| Chlorotoluron | 0.011ug/l
| Cyanazine | 0.012ug/l
| Diuron | 0.022ug/l
| Disethyl atrazine | 0.008ug/l
| Isoproturon | 0.012ug/l
| Linuron | 0.021ug/l
| Metazachlor | 0.011ug/l
| Metaldehyde | 0.021ug/l
| Methabenzthiazuron | 0.012ug/l
| Prometryn | 0.012ug/l
| Propazine | 0.010ug/l
| Propyzamide | 0.019ug/l
| Quinmerac | 0.015ug/l
| Simazine | 0.017ug/l
| Terbutryn | 0.014ug/l
| Terbuthylazine | 0.014ug/l
| Trietazine | 0.014ug/l
VOC | 1_1_1-Trichloroethane | 0.456ug/l
| 1_1-Dichloroethane | 0.135ug/l
| 1_2-Dichloroethane | 0.135ug/l
| cis-1,2-Dichloroethene | 0.215ug/l
| trans-1,2-Dichloroethene | 0.268ug/l
| Benzene | 0.074ug/l
| Bromodichloromethane | 0.197ug/l
| Dibromochloromethane | 0.173ug/l
| Ethyl benzene | 0.083ug/l
| m&p xylene | 0.154ug/l
| o xylene | 0.074ug/l
| total xylene | 0.074ug/l
| MTBE | 0.110ug/l
| Tetrachloroethene | 0.270ug/l
| Tetrachloromethane | 0.163ug/l
| Toluene | 0.091ug/l
| Tribromomethane (bromoform) | 0.304ug/l
| Trichloroethene | 0.426ug/l
| Trichloromethane (chloroform) | 0.620ug/l